## Table 2_TM
Table 2. Melting curve / Tm genotyping results from LightCycler PRO analysis
Values are summarized by TM final result. For multi-peak melting curves, Tm1 and Tm2 are reported separately.
TM final result | n | % of total | Tm peak pattern | Tm1, mean ± SD, range | Tm2, mean ± SD, range | Group quality, mean ± SD | Curve quality, mean ± SD | Main flags | Interpretation
Genotype1 | 251 | 65.4 | 251/251 2 peaks | 89.25 ± 0.82, 85.76–91.01 | 93.56 ± 0.11, 92.65–93.69 | 81.0 ± 0.0 | 89.9 ± 9.3 | None, 251 | Major melting pattern; second peak is highly concentrated.
Genotype2 | 3 | 0.8 | 3/3 2 peaks | 85.86 ± 2.27, 83.70–88.23 | 92.62 ± 0.13, 92.48–92.73 | 80.7 ± 0.0 | 90.2 ± 6.8 | None, 3 | Rare genotype call; low n, interpret cautiously.
Genotype3 | 2 | 0.5 | 2/2 single peak | 91.96 ± 0.16, 91.85–92.07 | NA | 79.9 ± 0.0 | 90.8 ± 0.0 | C24, 2 | Rare single-peak call; flagged C24, requires curve review.
Genotype4 | 21 | 5.5 | 21/21 single peak | 93.58 ± 0.06, 93.37–93.65 | NA | 75.3 ± 0.0 | 88.6 ± 12.1 | C23, 11; C24, 9; C23¦C24, 1 | Single peak near 93.6 °C; all records carry C23/C24-related flags.
Genotype5 | 4 | 1 | 4/4 2 peaks | 81.11 ± 4.78, 76.47–85.29 | 85.85 ± 2.79, 81.71–87.75 | 1.0 ± 0.0 | 93.0 ± 7.4 | None, 4 | Very low group quality; not recommended as a reliable genotype call alone.
Negative | 103 | 26.8 | 4/103 no peak; 18/103 single peak; 81/103 2 peaks | 75.79 ± 5.80, 66.93–90.32 | 81.51 ± 4.76, 75.32–93.61 | 0.0 ± 0.0 | 0.0 ± 0.0 | None, 83; C24, 16; C21, 4 | No valid genotype; any peaks do not support assigned positive genotype.
Notes
Tm = melting temperature. Group quality and curve quality are software-derived quality metrics.
Genotype calls should be interpreted together with CT/Cq results, especially when flags are present or Group quality is low.